## Sankey2
Cite_key | Method_class | Method_category | Function | Data | Component_original | Component_clean | Output | Granularity
SR1 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Maintenance record,Weather data | Not specified | Not specified | Binary label | Area level
SR2 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Maintenance record,Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
SR3 | Continious Monitoring and deterministic evaluation | Health Monitoring | Condition monitoring | Electrical measurements | Transformer | Transformer | Degradation indicator | Component level
SR4 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Remaining useful life prediction | Electrical measurements | Power connectors | Power connector | Remaining useful life | Component level
SR5 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Maintenance record,Weather data,Discharges | Insulator | Insulator | Degradation indicator | Component level
SR6 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Maintenance record,Electrical measurements | Overhead line | Overhead line |  | Component level
SR7 | Probabilistic Interpretable Models | Physics based models | Remaining useful life prediction | Weather data,Electrical measurements | Cable | Cable | Remaining useful life | Component level
SR8 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Maintenance record,Dissolved gasses data | Transformer | Transformer | Degradation indicator | Component level
SR9 | Continious Monitoring and deterministic evaluation | Health Monitoring | Early fault detection | Electrical measurements,Discharges | Insulator | Insulator | Degradation indicator | Component level
SR10 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Maintenance record,Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
SR11 | Continious Monitoring and deterministic evaluation | Health Monitoring | Ranking | Maintenance record,Mechanical data | Circuit breaker | Switchgear | Ranks | Network level
SR12 | Probabilistic Interpretable Models | Probabilistic forecasting models | Maintenance strategy selection | Maintenance record | Circuit breaker | Switchgear |  | Network level
SR13 | Probabilistic Interpretable Models | Probabilistic forecasting models | Ranking | Maintenance record,Environmental data,Asset data | Cable | Cable | Ranks | Network level
SR14 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Oil quality data,Paper insulation data,Dissolved gasses data,Maintenance record | Transformer | Transformer | Degradation indicator | Component level
SR15 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Early fault detection | Oil quality data,Dissolved gasses data,Asset data,Maintenance record | Transformer | Transformer | Multiclass severity label | Component level
SR16 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Early fault detection | Dissolved gasses data,Maintenance record | Transformer | Transformer | Binary label | Component level
SR17 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Oil quality data,Asset data,Maintenance record | Transformer | Transformer | Degradation indicator | Component level
SR18 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Electrical measurements,Discharges | Insulator | Insulator | Degradation indicator | Component level
SR19 | Continious Monitoring and deterministic evaluation | Health Monitoring | Condition monitoring | Asset data,Electrical measurements,Environmental data,Maintenance record | Not specified | Not specified | Degradation indicator | Network level,Component level,Component cohort-level
SR20 | Continious Monitoring and deterministic evaluation | Health Monitoring | Early fault detection | Electrical measurements | Switchgear | Switchgear | Binary label | Component level
SR21 | Continious Monitoring and deterministic evaluation | Health Monitoring | Condition monitoring | Oil quality data,Paper insulation data,Dissolved gasses data,Maintenance record | Transformer | Transformer | Degradation indicator | Component level,Sub-component level
SR22 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Remaining useful life prediction | Asset data,Maintenance record,Weather data | Relay | Switchgear | Remaining useful life | Component level
SR23 | Continious Monitoring and deterministic evaluation | Health Monitoring | Prognosis | Other,Maintenance record | Protection systems | Switchgear | Multiclass severity label | Component level
SR24 & SR25 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Early fault detection | Maintenance record,Electrical measurements | Substation | Substation | Multiclass type label | Component level
SR26 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Ranking | Maintenance record,Asset data,Environmental data | Cable | Cable | Ranks | Network level
SR27 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Condition monitoring | Electrical measurements | Cable,Switchgear cabinets | Cable,Switchgear | Binary label | Area level
SR28 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Maintenance record | Cable | Cable | Multiclass severity label | Component level
SR29 | Continious Monitoring and deterministic evaluation | Health Monitoring | Early fault detection | Maintenance record | Circuit breaker | Switchgear | Degradation indicator | Component cohort-level
SR30 | Probabilistic Interpretable Models | Physics based models | Early fault detection | Electrical measurements,Discharges | Overhead line,Insulator,Cable | Overhead line,Insulator,Cable | Multiclass severity label | Component level
SR31 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
SR32 | Probabilistic Interpretable Models | Probabilistic forecasting models | Remaining useful life prediction | Electrical measurements,Weather data | Transformer | Transformer | Remaining useful life | Component level
SR33 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Condition monitoring | Discharges | Cable | Cable | Degradation indicator | Component level
SR34 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Condition monitoring | Electrical measurements | Transformer | Transformer | Binary label | Component level
SR35 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Early fault detection | Electrical measurements | Power connector | Power connector | Binary label | Component level
SR36 | Continious Monitoring and deterministic evaluation | Health Monitoring | Partial Discharge Clustering | Discharges | Transformer | Transformer |  | Component level
SR37 | Continious Monitoring and deterministic evaluation | Alarm Systems and Trigger Monitoring | Remaining useful life prediction | Electrical measurements | Power connectors | Power connector | Remaining useful life | Component level
SR38 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
SR39 | Probabilistic Interpretable Models | Time series forecasting | Prognosis | Dissolved gasses data | Transformer | Transformer | Multiclass severity label | Component level
SR40 | Probabilistic Interpretable Models | Probabilistic forecasting models | Remaining useful life prediction | Oil quality data,Weather data,Electrical measurements | Transformer | Transformer | Remaining useful life | Component level
SR41 | Continious Monitoring and deterministic evaluation | Health Monitoring | Prognosis | Discharges | Overhead line | Overhead line | Degradation indicator | Component level
SR42 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Prognosis | Maintenance record,Weather data,Discharges,Electrical measurements,Asset data,Other | Not specified | Not specified |  | Network level
SR43 | Continious Monitoring and deterministic evaluation | Health Monitoring | Condition monitoring | Other | Circuit breaker | Switchgear | Multiclass severity label | Component level
SR44 | Artificial Intelligence and Black Box models | Deep Learning | Early fault detection | Discharges | Not specified | Not specified | Multiclass type label | Component level
SR45 | Probabilistic Interpretable Models | Probability Distributions | Remaining useful life prediction | Electrical measurements,Weather data,Asset data,Other | Overhead line | Overhead line | Remaining useful life | Component level
SR46 | Artificial Intelligence and Black Box models | Machine learning (Semi-supervised) | Condition monitoring | Other | Relay | Switchgear | Multiclass severity label | Network level
SR47 | Artificial Intelligence and Black Box models | Machine Learning (Supervised) | Condition monitoring | Mechanical data | Transformer | Transformer | Multiclass severity label | Component level