## Input Data
Reference Number | Reference Title | Method_class | 1. Method class | 2. Method class | Function | Data | Component_original | Component_category | Output | Granularity
[1] | Weather related fault prediction in minimally monitored distribution networks | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Prognosis | Maintenance record,Weather data | Not specified | Not specified | Binary label | Area level
[2] | Uncertainty-Aware Fusion of Probabilistic Classifiers for Improved Transformer Diagnostics | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | Probabilistic Interpretable Models | Condition monitoring | Maintenance record,Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
[3] | Transformer Fault Condition Prognosis Using Vibration Signals Over Cloud Environment | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | Artificial Intelligence and Black Box models | Condition monitoring | Electrical measurements | Transformer | Transformer | Degradation indicator | Component level
[4] | Time Series RUL Estimation of Medium Voltage Connectors to Ease Predictive Maintenance Plans | Artificial Intelligence and Black Box models | Continious Monitoring and deterministic evaluation | Probabilistic Interpretable Models | Remaining useful life prediction | Electrical measurements | Power connectors | Power connector | Remaining useful life | Component level
[5] | A Cumulative Pollution Index for the Estimation of the Leakage Current on Insulator Strings | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Condition monitoring | Maintenance record,Weather data,Discharges | Insulator | Insulator | Degradation indicator | Component level
[6] | A Data-Driven Long Time-Series Electrical Line Trip Fault Prediction Method Using an Improved Stacked-Informer Network | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Prognosis | Maintenance record,Electrical measurements | Overhead line | Overhead line |  | Component level
[7] | A Diagnostics Framework for Underground Power Cables Lifetime Estimation Under Uncertainty | Probabilistic Interpretable Models | Probabilistic Interpretable Models | Probabilistic Interpretable Models | Remaining useful life prediction | Weather data,Electrical measurements | Cable | Cable | Remaining useful life | Component level
[8] | A Novel Deep Recurrent Belief Network Model for Trend Prediction of Transformer DGA Data | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Prognosis | Maintenance record,Dissolved gasses data | Transformer | Transformer | Degradation indicator | Component level
[9] | A Novel Leakage Current Index for the Field Monitoring of Overhead Insulators Under Harmonic Voltage | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Early fault detection | Electrical measurements,Discharges | Insulator | Insulator | Degradation indicator | Component level
[10] | A Power Transformer Fault Prediction Method through Temporal Convolutional Network on Dissolved Gas Chromatography Data | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Prognosis | Maintenance record,Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
[11] | A RankBoost-Based Data-Driven Method to Determine Maintenance Priority of Circuit Breakers | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | Artificial Intelligence and Black Box models | Ranking | Maintenance record,Mechanical data | Circuit breaker | Switchgear | Ranks | Network level
[12] | Aging failure model of circuit breakers equipped with condition monitoring systems | Probabilistic Interpretable Models | Probabilistic Interpretable Models | No second method | Maintenance strategy selection | Maintenance record | Circuit breaker | Switchgear |  | Network level
[13] | Analyzing Parameters That Affect the Reliability of Low-Voltage Cable Grids and Their Applicability in Asset Management | Probabilistic Interpretable Models | Probabilistic Interpretable Models | No second method | Ranking | Maintenance record,Environmental data,Asset data | Cable | Cable | Ranks | Network level
[14] | Artificial Intelligence-Based Power Transformer Health Index for Handling Data Uncertainty | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Condition monitoring | Oil quality data,Paper insulation data,Dissolved gasses data,Maintenance record | Transformer | Transformer | Degradation indicator | Component level
[15] | Data Driven Transformer Thermal Model for Condition Monitoring | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Early fault detection | Oil quality data,Dissolved gasses data,Asset data,Maintenance record | Transformer | Transformer | Multiclass severity label | Component level
[16] | Dynamic Fault Prediction of Power Transformers Based on Lasso Regression and Change Point Detection by Dissolved Gas Analysis | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | Artificial Intelligence and Black Box models | Early fault detection | Dissolved gasses data,Maintenance record | Transformer | Transformer | Binary label | Component level
[17] | Enchanced optimal trained hybrid classifiers for aging assessment of power transformer insulation oil | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Condition monitoring | Oil quality data,Asset data,Maintenance record | Transformer | Transformer | Degradation indicator | Component level
[18] | Fault Prediction Based on Leakage Current in Contaminated Insulators Using Enhanced Time Series Forecasting Models | Artificial Intelligence and Black Box models | Continious Monitoring and deterministic evaluation | Artificial Intelligence and Black Box models | Prognosis | Electrical measurements,Discharges | Insulator | Insulator | Degradation indicator | Component level
[19] | Holistic performance evaluation framework: power distribution network health index | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Condition monitoring | Asset data,Electrical measurements,Environmental data,Maintenance record | Not specified | Not specified | Degradation indicator | Network level,Component level,Component cohort-level
[20] | Hybrid sensing of internal and surface partial discharges in air-insulated medium voltage switchgear | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Early fault detection | Electrical measurements | Switchgear | Switchgear | Binary label | Component level
[21] | Improved power transformer condition monitoring under uncertainty through soft computing and probabilistic health index | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Condition monitoring | Oil quality data,Paper insulation data,Dissolved gasses data,Maintenance record | Transformer | Transformer | Degradation indicator | Component level,Sub-component level
[22] | Substation Equipment Spare Parts’ Inventory Prediction Model Based on Remaining Useful Life | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | Remaining useful life prediction | Asset data,Maintenance record,Weather data | Relay | Switchgear | Remaining useful life | Component level
[23] | State Evaluation and Fault Prediction of Protection System Equipment Based on Digital Twin Technology | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Prognosis | Other,Maintenance record | Protection systems | Switchgear | Multiclass severity label | Component level
[24] | Event Sequence Model Application for Prioritization and Detection of Pre-Fault Waveforms on Power Distribution Lines + Multi-labeled recognition of distribution system conditions by a waveform feature learning model | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Early fault detection | Maintenance record,Electrical measurements | Substation | Substation | Multiclass type label | Component level
[26] | Relative fault vulnerability prediction for energy distribution networks | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Ranking | Maintenance record,Asset data,Environmental data | Cable | Cable | Ranks | Network level
[27] | Insulation Condition Monitoring in Distribution Power Grid via IoT-Based Sensing Network | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Condition monitoring | Electrical measurements | Cable,Switchgear cabinets | Cable,Switchgear | Binary label | Area level
[28] | Long-Term Health Index Prediction for Power Asset Classes Based on Sequence Learning | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Prognosis | Maintenance record | Cable | Cable | Multiclass severity label | Component level
[29] | Methodology for predictive assessment of failures in power station electric bays using the load current frequency spectrum | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Early fault detection | Maintenance record | Circuit breaker | Switchgear | Degradation indicator | Component cohort-level
[30] | Modeling the development of low current arcs and arc resistance simulation | Probabilistic Interpretable Models | Probabilistic Interpretable Models | No second method | Early fault detection | Electrical measurements,Discharges | Overhead line,Insulator,Cable | Overhead line,Insulator,Cable | Multiclass severity label | Component level
[31] | Novel power transformer fault diagnosis using optimized machine learning methods | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Condition monitoring | Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
[32] | On Particle Filtering for Power Transformer Remaining Useful Life Estimation. | Probabilistic Interpretable Models | Probabilistic Interpretable Models | No second method | Remaining useful life prediction | Electrical measurements,Weather data | Transformer | Transformer | Remaining useful life | Component level
[33] | Online condition monitoring of MV cable feeders using Rogowski coil sensors for PD measurements. | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Condition monitoring | Discharges | Cable | Cable | Degradation indicator | Component level
[34] | Online Detection of Inter-Turn Winding Faults in Single-Phase Distribution Transformers Using Smart Meter Data. | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Condition monitoring | Electrical measurements | Transformer | Transformer | Binary label | Component level
[35] | On-Line Health Condition Monitoring of Power Connectors Focused on Predictive Maintenance | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | Probabilistic Interpretable Models | Early fault detection | Electrical measurements | Power connector | Power connector | Binary label | Component level
[36] | Online monitoring of transformer through stream clustering of partial discharge signals. | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Partial Discharge Clustering | Discharges | Transformer | Transformer |  | Component level
[37] | On-line remaining useful life estimation of power connectors focused on predictive maintenance. | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Remaining useful life prediction | Electrical measurements | Power connectors | Power connector | Remaining useful life | Component level
[38] | ower transformer dissolved gas analysis through Bayesian networks and hypothesis testing. | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Condition monitoring | Dissolved gasses data | Transformer | Transformer | Multiclass type label | Component level
[39] | Optimal Data Selection Rule Mining for Transformer Condition Assessment. | Probabilistic Interpretable Models | Probabilistic Interpretable Models | No second method | Prognosis | Dissolved gasses data | Transformer | Transformer | Multiclass severity label | Component level
[40] | Probabilistic forecasting informed failure prognostics framework for improved RUL prediction under uncertainty: A transformer case study. | Probabilistic Interpretable Models | Probabilistic Interpretable Models | Probabilistic Interpretable Models | Remaining useful life prediction | Oil quality data,Weather data,Electrical measurements | Transformer | Transformer | Remaining useful life | Component level
[41] | Prognosis study of live aerial bundled cables in coastal areas using historical super-heterodyne ultrasonic listening data | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | No second method | Prognosis | Discharges | Overhead line | Overhead line | Degradation indicator | Component level
[42] | Realization of initiative repair of power distribution network based on backpropagation neural network optimization. | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Prognosis | Maintenance record,Weather data,Discharges,Electrical measurements,Asset data,Other | Not specified | Not specified |  | Network level
[43] | Real-Time Life-Cycle Assessment of High-Voltage Circuit Breakers for Maintenance Using Online Condition Monitoring Data | Continious Monitoring and deterministic evaluation | Continious Monitoring and deterministic evaluation | Probabilistic Interpretable Models | Condition monitoring | Other | Circuit breaker | Switchgear | Multiclass severity label | Component level
[44] | Recognition of Fused Partial Discharge Patterns in High Voltage InsulationSystems: A Hybrid DCNN and SVM Based Approach | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | Continious Monitoring and deterministic evaluation | Early fault detection | Discharges | Not specified | Not specified | Multiclass type label | Component level
[45] | Remaining Useful Life Prediction of Aerial Bundled Cables in Coastal Areas Using Thermal and Corrosion Degradation Models. | Probabilistic Interpretable Models | Probabilistic Interpretable Models | No second method | Remaining useful life prediction | Electrical measurements,Weather data,Asset data,Other | Overhead line | Overhead line | Remaining useful life | Component level
[46] | Research on state evaluation and riskassessment for relay protection system basedon machine learning algorithm | Artificial Intelligence and Black Box models | Probabilistic Interpretable Models | Artificial Intelligence and Black Box models | Condition monitoring | Other | Relay | Switchgear | Multiclass severity label | Network level
[47] | Research on transformer vibration monitoring and diagnosis based on Internet of things | Artificial Intelligence and Black Box models | Artificial Intelligence and Black Box models | No second method | Condition monitoring | Mechanical data | Transformer | Transformer | Multiclass severity label | Component level
Note on B31: [Trådet kommentar] Din version af Excel lader dig læse denne trådede kommentar. Eventuelle ændringer vil dog blive fjernet, hvis filen åbnes i en nyere version af Excel. Få mere at vide: https://go.microsoft.com/fwlink/?linkid=870924 Kommentar: Why is this paper included, it violates the post-fault inclusion criteria, and only pertains to diagnosis